## Slide 1
AI-ASSISTED ORTHOPEDIC IMAGING PLATFORM
Medial Meniscus Assessment &
Patient-Specific Knee Implant Sizing
Turning knee MRI into quantitative, reproducible measurements — supporting osteoarthritis research and pre-operative implant planning.
MRI-Based AI Segmentation
Quantitative Measurement
Implant-Size Matching

## Slide 2
THE CLINICAL PROBLEM
Knee Osteoarthritis Is Common, Disabling —
and Hard to Quantify
Knee osteoarthritis (OA) is one of the most common degenerative joint disorders, driving pain, stiffness, reduced mobility, and disability. It involves progressive change in cartilage, menisci, subchondral bone, and surrounding tissue — yet evaluation still relies on manual, subjective visual assessment.
KNEE JOINT — STRUCTURES AFFECTED
Femur
Lower thigh bone forming the upper joint surface
Medial Meniscus
Load distribution, shock absorption, joint stability
Tibia
Shin bone forming the lower joint surface
Articular Cartilage
Smooth cushioning tissue — degrades progressively in OA
Time-Consuming
Manual measurement from MRI/X-ray slows radiology and surgical-planning workflows.
Inter-Observer Variation
Visual grading differs between radiologists and orthopedic specialists.
Under-Used Data
Structural change is described qualitatively, not tracked as reproducible numbers.
02

## Slide 3
WHY THE MENISCUS MATTERS
A Small Structure With an Outsized Clinical Role
The medial meniscus governs load distribution, shock absorption, and cartilage protection. Changes in its thickness track with OA progression and severity — but it is genuinely hard to measure well.
CLINICAL ROLE
Shock Absorption & Load Distribution
Cushions the femur-tibia interface during daily loading.
Joint Stability
Helps maintain consistent femoral-tibial alignment.
Cartilage Protection
Reduces direct contact stress on articular cartilage.
MEASUREMENT CHALLENGES
Anatomical variation across patients
Differences in image quality & orientation
Disease-related structural change
Thickness norms differ by sex and age group
→ population-specific baselines are needed for reliable OA comparison.
03

## Slide 4
THE PROPOSED SOLUTION
One Unified AI Platform, Two Clinical Modules
An AI-assisted imaging platform automatically identifies the femur, tibia, and medial meniscus, then turns pixels into patient-specific, reproducible measurements for two connected clinical use cases.
MODULE 1
Meniscus Analysis &
Osteoarthritis Assessment
Detect femur, tibia & medial meniscus
Measure thickness at defined locations
Compare against labelled OA / non-OA cases
Analyze by age & sex
MODULE 2
Femoral & Tibial Measurement
for Implant Sizing
Segment femur & tibia geometry
Extract AP / ML clinical dimensions
Match against implant size database
Rank suitable implant options
Both modules share one segmentation backbone and feed a single structured patient report.
04

## Slide 5
MODULE 1 · MENISCUS AI
From MRI Slice to Meniscus Thickness Profile
MENISCUS AI · Case Viewer
MRI CASE
Case: 9770217_RIGHT
SLICE 75 / 130
MRI IMAGE
AI SEGMENTATION
Meniscus detected
Meniscus volume
4373.43 mm³
Detected slices
15 – 130
View 3D
Generate Report
WHAT THIS MODULE DELIVERS
Thickness at Predefined Locations
Standardized measurement points across the joint space, not a single visual estimate.
OA vs. Non-OA Comparison
Quantitative measurements benchmarked against clinically labelled cases.
Age & Sex-Stratified Analysis
Separate population analysis to surface real, measurable differences.
Structured, Reviewable Output
Every measurement is visualized on the source image for clinician verification.
05

## Slide 6
MODULE 2 · MEDI-SIZE AI
Patient-Specific Femoral & Tibial Implant Sizing
WHY IT MATTERS
Total knee arthroplasty (TKA) outcomes depend on implant fit. Mis-sized components can cause overhang, under-coverage, soft-tissue irritation, and altered biomechanics — so consistent, patient-specific measurement matters.
SIZING PIPELINE
Select patient MRI case
AI segments femur & tibia
Extract AP / ML dimensions
Compare to implant database
Ranked implant size options
MEDI-SIZE AI · Sizing Report
PATIENT-SPECIFIC SIZING
AP dimension
58.4 mm
ML dimension
64.1 mm
Thickness profile
4.6 mm
RECOMMENDED IMPLANT SIZE
Size M
Confidence
92%
WHY THIS RECOMMENDATION
Anatomical dimensions matched to implant curve
Thickness profile within sizing range
Geometry compatibility: High
06

## Slide 7
END-TO-END PIPELINE
Detailed Workflow: From Imaging to Clinical Report
01
Patient MRI Case
3D DESS knee imaging input
02
AI Segmentation
Femur, tibia & meniscus masks
03
Morphological Profile
Volume · thickness · AP/ML geometry
04
Sizing & OA Comparison
Match implant DB / labelled OA cases
05
Explainable Report
Visualized, reviewable output
Split into three parallel measures:
• Volume
• Thickness
• Geometry (AP/ML)
Both clinical modules share Steps 1–2 (imaging + segmentation) before branching into osteoarthritis comparison or implant-size matching — keeping the pipeline consistent and auditable end to end.
07

## Slide 8
SYSTEM ARCHITECTURE
A Layered, Modular Platform Architecture
DATA LAYER
Knee MRI (3D DESS)
Patient demographics
Labelled OA cohort data
Implant specification DB
AI SEGMENTATION LAYER
Femur segmentation
Tibia segmentation
Medial meniscus segmentation
Landmark detection
MEASUREMENT & ANALYTICS LAYER
Thickness profiling
Volume & AP/ML geometry
OA statistical comparison
Age / sex stratification
APPLICATION LAYER
Implant size matching
Explainable recommendation
Visualization interface
Clinician review report
A shared segmentation backbone feeds both the osteoarthritis-assessment and implant-sizing workflows, with every output traceable back to source imaging.
08

## Slide 9
TRUST & TRANSPARENCY
Every Recommendation Comes With an Explanation
The platform is a decision-support and research tool, not a diagnostic replacement. Every measurement and recommendation is visualized on the source image so clinicians can verify — not just trust — the output.
RECOMMENDED IMPLANT CATEGORY
Medium
Based on measured anatomical dimensions and thickness profile.
WHY THIS RECOMMENDATION?
AP dimension
58.4 mm
ML dimension
64.1 mm
Thickness
4.6 mm
Geometry compatibility
High
DESIGN PRINCIPLES
Visual Traceability
Detected structures & measurement points overlaid directly on the MRI.
Clinician-in-the-Loop
Outputs support review and decision-making — final calls stay with specialists.
Reproducible, Not Subjective
Same inputs yield the same standardized measurements every time.
09

## Slide 10
IMPACT & VISION
Reducing Manual Effort. Standardizing Measurement.
Supporting Better Decisions.
Efficiency
Less manual measurement time for radiologists and surgical planners.
Consistency
Standardized, reproducible anatomical measurements across patients.
Research Insight
Structured data connecting meniscus morphology, age, sex & OA status.
Better Planning
Data-driven, patient-specific support for pre-operative implant sizing.
A clinical decision-support and research tool — not a replacement for diagnosis. Final diagnosis and treatment decisions remain under the supervision of qualified medical professionals.
10